## survey
type | name | label | hint | appearance | required | relevant | constraint | constraint_message | calculation | default | read_only | body::intent
note | intro | MethodMesh Acoustics — acoustic.level | Measure relative or calibrated acoustic level
begin_group | run_acoustic_level | Run acoustic.level | This form invokes only this MethodMesh capability. Inputs shown here are only those relevant to this call; capability interaction may continue in the native MethodMesh surface and return on Commit. | field-list | [7 empty] | com.example.methodmesh.EXECUTE_METHOD(method_id='acoustic.level',input_capture_seconds=${capture_seconds},input_sample_rate_hz='48000',input_calibration_mode=${calibration_mode},input_calibration_offset_db=${calibration_offset_db},input_calibration_reference_db_spl=${calibration_reference_db_spl},input_calibration_note=${calibration_note},input_payload_mode='FULL',return_mode='flat')
decimal | capture_seconds | Measurement duration (s) | Timed observation window. The analyser summarises the whole interval rather than freezing one frame. |  | yes |  | . >= 0.5 and . <= 60 | Use 0.5–60 seconds.
select_one ac_calibration_mode | calibration_mode | Level mode | Uncalibrated returns dBFS. Calibrated applies an offset. | minimal | yes
decimal | calibration_offset_db | Calibration offset (dB) | dB SPL = dBFS + offset. |  | yes
decimal | calibration_reference_db_spl | Calibration reference (dB SPL) |  |  | yes
text | calibration_note | Calibration note / reference meter
text | methodmesh_status | Methodmesh Status | Shared MethodMesh transport status, where projected by the runtime. | hidden-answer | [6 empty] | yes
text | acoustic_level_dbfs | Current dBFS | Returned by MethodMesh. | hidden-answer | [6 empty] | yes
text | acoustic_level_leq_dbfs | Leq dBFS | Returned by MethodMesh. | hidden-answer | [6 empty] | yes
text | acoustic_level_peak_dbfs | Peak dBFS | Returned by MethodMesh. | hidden-answer | [6 empty] | yes
text | acoustic_level_db_spl | Current dB SPL | Returned by MethodMesh. | hidden-answer | [6 empty] | yes
text | acoustic_level_leq_db_spl | Leq dB SPL | Returned by MethodMesh. | hidden-answer | [6 empty] | yes
text | acoustic_level_calibrated | Calibrated | Returned by MethodMesh. | hidden-answer | [6 empty] | yes
text | acoustic_level_calibration_offset_db | Calibration offset (dB) | Returned by MethodMesh. | hidden-answer | [6 empty] | yes
text | acoustic_level_calibration_reference_db_spl | Calibration reference (dB SPL) | Returned by MethodMesh. | hidden-answer | [6 empty] | yes
text | acoustic_level_status | Level status | Returned by MethodMesh. | hidden-answer | [6 empty] | yes
text | acoustic_level_audit_json | Level audit JSON | Returned by MethodMesh. | hidden-answer | [6 empty] | yes
text | acoustic_level_error | Level error | Returned by MethodMesh. | hidden-answer | [6 empty] | yes
text | methodmesh_full_json | Methodmesh Full Json | Shared MethodMesh FULL execution envelope. Retained for complete execution/audit capture; capability-specific return fields are projected separately. | hidden-answer | [6 empty] | yes
end_group
note | return_summary | MethodMesh return captured. Status: ${methodmesh_status} | Only fields relevant to this capability are stored, plus the shared FULL envelope.

## choices
list_name | name | label
ac_calibration_mode | uncalibrated | Uncalibrated · dBFS
ac_calibration_mode | calibrated | Calibrated · estimated dB SPL

## settings
form_title | form_id | version
MethodMesh Acoustics — acoustic.level | acoustics_acoustic_level | 2026090701