## survey
type | name | label | hint | appearance | required | relevant | calculation | body::intent | read_only
note | intro | This form launches the MethodMesh calibrated visual-acuity capability and returns logMAR and Snellen results. | Before use, calibrate the MethodMesh screen against a physical ruler. Distance testing is at 2 m; near testing is at 40 cm.
select_one va_mode | va_test_mode | Test mode | Distance uses 2 m. Near uses 40 cm. | minimal | yes
select_one va_eye | va_eye | Eye | For the V@home validation configuration, distance was monocular and near was binocular. | minimal | yes
select_one va_correction | va_correction | Correction worn | Peek validation measured presenting acuity with habitual correction if worn. | minimal | yes
begin_group | visual_acuity_result | Run MethodMesh visual acuity | Press Launch, then complete the tumbling-E test in MethodMesh. | field-list |  |  |  | com.example.methodmesh.EXECUTE_METHOD(method_id='visual_acuity.measure',input_test_mode=${va_test_mode},input_eye=${va_eye},input_correction=${va_correction},input_ambient_light_warning='true',input_payload_mode='FULL',return_mode='flat')
text | visual_acuity_status | Visual-acuity status |  | hidden-answer
text | visual_acuity_result | Visual-acuity result
text | visual_acuity_logmar | logMAR |  | hidden-answer
text | visual_acuity_snellen_metric | Metric Snellen |  | hidden-answer
text | visual_acuity_snellen_imperial | Imperial Snellen |  | hidden-answer
text | visual_acuity_decimal | Decimal acuity |  | hidden-answer
text | visual_acuity_audit_json | Visual-acuity audit JSON | Full calibration, staircase and per-presentation trace. | hidden-answer
text | methodmesh_full_json | Full MethodMesh result envelope |  | hidden-answer
text | visual_acuity_error | Visual-acuity error |  | hidden-answer
end_group
note | result_note | Result: ${visual_acuity_result} | This Development capability is not yet a substitute for a validated clinical eye examination. |  |  | ${visual_acuity_status} = 'succeeded'

## choices
list_name | name | label
va_mode | distance | Distance · 2 m
va_mode | near | Near · 40 cm
va_eye | right | Right eye
va_eye | left | Left eye
va_eye | binocular | Binocular
va_correction | habitual | Habitual correction
va_correction | none | No correction
va_correction | not_recorded | Not recorded

## settings
form_title | form_id | version | default_language
MethodMesh Visual Acuity example | methodmesh_visual_acuity_example | 2026090301 | English (en)